ADDENDUM

| PROJECT | NKU New Residence Hall |  | ADDENDUM NO. | 1 |
| --- | --- | --- | --- | --- |
| PROJECT NO. | 18237.01 |  | DATE | 02/14/2020 |
| TO | Brian Groneck |  | FROM | Dan Bossenbroek |

DESCRIPTION:

- DRAWING REVISIONS:

VOLUME 1

  - G007 	WALL TYPES AND DETAILS

    - Revised Details 1B, 1B’ and 1C.

  - A105 	LEVEL 05 FLOOR PLAN - OVERALL

    - Deleted Elevation 19/A721.

  - A721	EXTERIOR STOREFRONT ELEVATIONS

    - Deleted Elevation 19.

VOLUME 2

  - SHEET #  SHEET NAME

    - Description

- SPECIFICATION REVISIONS:

VOLUME 1

  - 00 24 13   Bid Category Descriptions

    - Include the following revisions to BC-01: General Trades beginning on page 00 24 13 – 7/80

      - On Page 00 24 13 - 7/80 delete: “Geotechnical Exploration Report”

      - On Page 00 24 13 - 8/80 delete: Section 12 48 13 and Section 12 93 00

      - On Page 00 24 13 – 9/80 revise note 9.: Delete “This includes” from the end of this note.

      - On Page 00 24 13 – 9/80 revise note 11. to include temporary doors at the following ground floor openings: 154, 100A, 116, 122A, 125S, 120A, 135A, & 165SE. All other ground floor door openings shall be temporarily boarded off.

      - On Page 00 24 13 – 12/80 revise note 27. as follows: Include a complete trash dumpster enclosure as shown on page A000 in lieu of Section 32 31 31 Trash Dumpster Enclosure

      - On Page 00 24 13 – 13/80 delete the following:

        - Note 30.b 12 48 13 Entrance Mats and Frames

        - Note 30.c 12 93 00 Site Furnishing

    - Include the following revisions to BC-02: Earthwork, Site Utilities, and Asphalt Paving beginning on page 00 24 13 – 16/80:

      - On page 00 24 13 – 17/80 Note 5. Excavation & Grading item C. should be revised to read: Cut and/or fill the subgrade under slab on grade concrete. Subgrade shall be installed to 9 inches below finished concrete floor elevation.

      - On page 00 24 13 – 21/80 Note 10. e) shall be revised to read: This BC-02 subcontractor shall provide and install compacted gravel base from subgrade to 5 inches below finished concrete floors. Excavations from concrete foundations shall be backfilled with compactable material to 9 inches below finished concrete floor by the BC-04 subcontractor.

    - Include the following updates to BC-03 Drilled Piers scope or work beginning on page 00 24 13 – 24/80

      - Revise Note 5. To read: Subgrade shall be left at 9 inches below finished concrete floors in all areas. This BC-03 subonctractor shall maintain or replace any damaged subgrade once drilled piers have been installed.

    - Include the following updates to BC-04 Concrete Foundations, Reinforcing Steel, Concrete Materials P.P.F beginning on page 00 24 13 – 27/80

      - On page 00 24 13 – 27/80 add the following specification sections

        - Section 02 41 13 Selective Site Demolition (as applicable)

Section 07 11 13 Bituminous Damproofing

Section 31 63 20 Drilled Piers (as applicable)

Section 07 92 00 Joint Sealants (as applicable)

      - On page 00 24 13 – 27/80, revised note 7. to read: The BC-02 Earthwork Site Utilities subcontractor shall cut the building pad to 9” below finish concrete floor in all areas. The BC-04 subcontractor shall excavate or form all footings and walls above or below this grade as required.

      - On page 00 24 13 – 32/80 add note 50. This scope includes all bond breaks and under-concrete slab vapor barriers in the documents.

    - Include the following updates to BC-07 Metal Framing, Drywall & Acoustical Ceilings beginning on page 00 24 13 – 40/80

      - Replace the Divisions and Sections listed on page 00 24 13 – 40/80 with the following:

        - Division 00	Procurement and Contracting Requirements

Division 01	General Requirements

Division 02	Existing Conditions

Section 05 12 00	Structural Steel (as related)

Section 05 30 00	Metal Decking (as related)

Section 05 40 00	Cold-Formed Metal Framing

Section 06 16 00	Sheathing

Section 07 21 00 	Thermal Insulation

Section 07 27 26	Fluid Applied Membrane Vapor Air Barriers

Section 07 54 23	Thermoplastic Polyolefin Roofing

Section 07 84 00	Firestopping (as related)

Section 07 92 00	Joint Sealants (as related)

Section 08 11 00	Steel Doors and Frames (as related)

Section 08 31 00	Access Doors and Panels (as related)

Section 09 21 16	Gypsum Board Assemblies

Section 09 51 00	Suspended Acoustical Ceiling

Section 09 91 00	Painting and Coatings (as related)

      - Replace Note No. 9 on Page 00 24 13 – 41/80 with the following:

        - Provide the interior and exterior load bearing and non-load bearing metal stud framing.  Provide the batt, rigid, and mineral fiber insulation within the interior and exterior wall/ceiling systems. Include all fluid applied membrane vapor air barriers (also included at CMU for complete system), spray-in acoustic and thermal insulation required for a complete exterior air/water barrier. Include all “Z” girts, vertical sub-girts (only if in plane with insulation), interior and exterior gypsum sheathing, gypsum shaft-wall assemblies, ceilings complete, and joint sealers.  Design responsibility for load bearing walls shall also be included (design by and Kentucky registered Professional Engineer).

      - Add: 41. Include backer board or gypboard as required that is suitable for use behind all ceramic wall tile.

    - Include the following updates to the BC-14 Metal Panels on page 00 24 13 – 66/80 to include the following:

      - Section 08 91 19 Fixed Lovers

      - Add Note 13. This scope include provide all fixed lovers in metal panels.

    - Include the following updates to the BC-16 Painting on page 00 24 13 – 71/80

      - Add note 18. Include all intumescent fireproofing. See note 4 on A224 for additional areas

    - Include the following updates to the BC-17 Resilient Flooring, Ceramic Tile, and Polished Concrete on page 00 24 13 – 76/80:

      - Add note 23. Include Section 12 48 13 Entrance Floor Mats and Frames. This scope includes providing and installing entrance floor mats and frames in Vestibules 100V and 135V.

      - Add note: 16. This scope include removal of the erosion co

  - 07 81 16   CEMENTITIOUS FIREPROOFING

    - Entire section added

  - 08 11 00   STEEL DOORS AND FRAMES

    - Paragraph 2.02 revised to read:

2.02 MANUFACTURERS

A. Steel Doors and Frames:

1. Ceco Door Products; Product:  www.cecodoor.com.

2. Republic Builders Products; Product:  www.republicdoor.com.

3. Steelcraft; Product:  www.steelcraft.com.

4.  Metal Products, Inc.; Product: ???

VOLUME 2

  - SPEC #  SPEC NAME

    - Description

ATTACHMENTS:

DRAWINGS

VOLUME 1:  G007

VOLUME 2:  SHEET #, SHEET #

SPECIFICATIONS

VOLUME 1:  07 81 16, 08 11 00

VOLUME 2:  SPEC #, SPEC #

Note: All highlighted text to be revised or deleted.

DISTRIBUTION:

Elizabeth Birkenhauer

Mary Paula Schuh

Blaine Gilmore

David Berland

Nick Rosian

Yanitza Brongers-Marrero

Mike Albers